## Slide 1: AetherTwin.AI
– Intelligent Industrial Operations AI

## Slide 2: Problem Statement
Today's industrial plants have mature SCADA and PLC systems, but they still suffer from several limitations:
SCADA only displays alarms; it doesn't explain why they happened.
Historical data is rarely used for predictive insights.
Remote monitoring is limited.
Maintenance teams rely on manual troubleshooting.
Spare part identification takes time.
Alarm fatigue causes delayed responses.
Knowledge is locked inside experienced engineers.

## Slide 3: Intelligent Alerts
Current SCADA:
Pump-101 Failed

## Slide 4: Intelligent Alarm
Pump-101 Stopped
Likely causes:
✓ Low suction pressure
✓ Motor overload
✓ Bearing temperature high
✓ Previous vibration increase
Recommended checks: 1. Verify suction valve
2. Check motor current
3. Inspect bearing
4. Review maintenance history Estimated
70% and above provides alert

## Slide 5: Root Cause Analysis
AI correlates:
PLC tags
Sensor trends
Previous failures
Maintenance records
Weather
Operator logs

## Slide 6: Root Cause Analysis
Alarm occurred --SCADA
AI Agent provides
Root Cause Probability
Bearing Failure 82%
Low Pressure 11%
Motor Fault 5%
Sensor Error 2%

## Slide 7: Predictive Maintenance
Instead of reacting after failure –SCADA
Bearing vibration increasing
Failure probability:
7 days → 18%
14 days → 41%
30 days → 79%
Maintenance can be scheduled before failure.

## Slide 8: AI Assistant
Why did Pump-5 stop yesterday?
AI answers:
Shows alarm timeline
Displays temperature graph
Identifies probable cause
References maintenance manual
Suggests next steps

## Slide 9: Alarm Escalation
Alarm & Create Incident Ticket
↓
No acknowledgement
↓
Call through voice bot after 30 sec
↓
Notify Shift Engineer after 2 min
↓
Still no response
↓
Notify Maintenance Manager after 5 min
↓
Notify Plant Head after 10 min

## Slide 10: Spare Parts Assistant
Pump
↓
Bearing
↓
Part Number
↓
Vendor
It can answer:
"Which bearing is installed in Pump-102?"

## Slide 11: Equipment Digital Twin
For each asset, maintain:
Live status
Historical trends
Maintenance history
Drawings
Manuals
PLC logic references
Installed spare parts
Vendor contacts

## Slide 12: PLC Logic Assistant
Important: Never allow AI to directly modify PLC logic in production.
Instead:
Explain ladder logic
Suggest optimized logic
Simulate changes
Generate draft code
Require engineer approval before deployment

## Slide 13: Technology Stack
Layer | Technology
Frontend | Angular
Mobile | Angular
Backend | FastAPI
AI | OpenAI GPT-5.5 or open-weight LLM
Database | MongoDB
Cloud | Azure

## Slide 14: AI/ML Technology Stack
Real-Time Anomaly Detection
Autoencoder Neural Network
Detects abnormal operating behavior by reconstructing telemetry and measuring reconstruction error (MSE).
Fault Diagnosis & Classification
Multi-Layer Perceptron (MLP) Classifier
Classifies equipment faults such as Pump Cavitation, Bearing Wear, Pipe Leak, and Motor Overheating with confidence scores.

## Slide 15: Security
Role-Based Access Control
Encrypted Communication
Secure Apis
AI Governance With Human Approval For Critical Actions
Comprehensive Audit Logging
Least-Privilege AI Agents

## Slide 16: Enhancements
Energy Optimization
AI identifies:
Pumps running at low efficiency
Idle motors
Compressed air leaks
High energy consumption
and recommends actions.

## Slide 17: AI Shift Report Generator
Night Shift Summary
Production:
98%
Critical alarms:
2
Minor alarms:
18
Downtime:
14 minutes
Maintenance completed:
3
Predicted failures:
2
Recommended inspections:
Pump-3
Motor-12
Valve-8

## Slide 18: KPI
Temperature: 25–95 °C
Pressure: 2–20 bar
Flow Rate: 100–800 L/min
Vibration: 0.1–8 mm/s
Voltage: 380–440 V
Current: 5–50 A
RPM: 500–3600

## Slide 19
PLC (Programmable Logic Controller) is a specialized industrial computer that controls machinery and processes in real time.
SCADA (Supervisory Control and Data Acquisition) is a software-centric platform that monitors, aggregates data from, and oversees entire facilities or massive geographic systems made up of many PLCs.

## Slide 20
Thank You